## hilbert envelope
[25 empty] | Imp/s/MaxAmp | [5 empty] | Imp/s*MaxAmp
Particle # | Size (mm) | Aprox Time Start | Aprox Time End | max_amp | mean_amp | median_amp | ch6 imp/s | ch5 imp/s | ch4 imp/s | ch3 imp/s | ch2 imp/s | ch1 imp/s | ch6_mean | ch5_mean | ch4_mean | ch3_mean | ch2_mean | ch1_mean | ch6_max | ch5_max | ch4_max | ch3_max | ch2_max | ch1_max | ch6 | ch5 | ch4 | ch3 | ch2 | ch1 | ch6 | ch5 | ch4 | ch3 | ch2 | ch1 | ch6_imp | ch5_imp | ch4_imp | ch3_imp | ch2_imp | ch1_imp
167 | 128 | 41 | 48 | 0.10482 | 0.033154 | 0.022914 | 0.85714 | 2.2857 | 13.7143 | 37.7143 | 86.2857 | 139.7143 | 0.064069 | 0.17941 | 0.59728 | 2.1219 | 8.4875 | 33.9501 | 0.10482 | 0.41928 | 1.6771 | 6.7084 | 26.8337 | 107.3348 | 8.1774 | 21.8063 | 130.8377 | 359.8036 | 823.1869 | 1332.9087 | 0.089845 | 0.23959 | 1.4375 | 3.9532 | 9.0444 | 14.6447 | 6 | 16 | 96 | 264 | 604 | 978
6 | 128 | 80 | 90 | 0.051422 | 0.014335 | 0.0072966 | 0.2 | 0.8 | 6.5 | 19.5 | 62.8 | 169 | 0.051422 | 0.1365 | 0.26754 | 0.9875 | 3.6697 | 14.6786 | 0.051422 | 0.20569 | 0.82276 | 3.291 | 13.1641 | 52.6564 | 3.8894 | 15.5575 | 126.4043 | 379.2129 | 1221.26 | 3286.5117 | 0.010284 | 0.041138 | 0.33424 | 1.0027 | 3.2293 | 8.6904 | 2 | 8 | 65 | 195 | 628 | 1690
8 | 128 | 115 | 125 | 0.16194 | 0.032526 | 0.0077989 | 1 | 3.1 | 8.9 | 23 | 50.9 | 149.3 | 0.094968 | 0.31788 | 0.7815 | 2.274 | 8.3267 | 33.3067 | 0.16194 | 0.64778 | 2.5911 | 10.3645 | 41.4578 | 165.8314 | 6.1749 | 19.1423 | 54.957 | 142.0238 | 314.3048 | 921.9195 | 0.16194 | 0.50203 | 1.4413 | 3.7247 | 8.243 | 24.1783 | 10 | 31 | 89 | 230 | 509 | 1493
168 | 128 | 150 | 160 | 0.089417 | 0.021061 | 0.0096694 | 0.4 | 1.6 | 11 | 25.5 | 48.9 | 135.1 | 0.056006 | 0.16309 | 0.44986 | 1.6141 | 5.3916 | 21.5664 | 0.089417 | 0.35767 | 1.4307 | 5.7227 | 22.8907 | 91.5626 | 4.4734 | 17.8938 | 123.0196 | 285.1818 | 546.8781 | 1510.9045 | 0.035767 | 0.14307 | 0.98358 | 2.2801 | 4.3725 | 12.0802 | 4 | 16 | 110 | 255 | 489 | 1351
150 | 90 | 194 | 199 | 0.04685 | 0.019737 | 0.011301 | 0.4 | 3.2 | 8.2 | 27.8 | 82.8 | 176.4 | 0.04685 | 0.12535 | 0.44064 | 1.4716 | 5.0527 | 20.2107 | 0.04685 | 0.1874 | 0.7496 | 2.9984 | 11.9936 | 47.9743 | 8.5379 | 68.3032 | 175.0269 | 593.3839 | 1767.3449 | 3765.2131 | 0.01874 | 0.14992 | 0.38417 | 1.3024 | 3.8792 | 8.2643 | 2 | 16 | 41 | 139 | 414 | 882
11 | 90 | 226 | 234 | 0.051754 | 0.023629 | 0.030144 | 0.75 | 3.625 | 12.75 | 30.75 | 61.625 | 166.125 | 0.039406 | 0.15394 | 0.46927 | 1.6679 | 6.0491 | 24.1965 | 0.051754 | 0.20702 | 0.82807 | 3.3123 | 13.2491 | 52.9965 | 14.4915 | 70.0424 | 246.3559 | 594.1525 | 1190.7202 | 3209.8725 | 0.038816 | 0.18761 | 0.65987 | 1.5914 | 3.1894 | 8.5977 | 6 | 29 | 102 | 246 | 493 | 1329
22 | 90 | 265 | 275 | 0.062688 | 0.018357 | 0.0053393 | 0.3 | 2.1 | 9.1 | 21.2 | 66 | 158.1 | 0.045463 | 0.16338 | 0.42601 | 1.2688 | 4.6995 | 18.7981 | 0.045463 | 0.25075 | 1.003 | 4.0121 | 16.0482 | 64.1929 | 4.7856 | 33.4991 | 145.1626 | 338.181 | 1052.8275 | 2522.0004 | 0.018806 | 0.13165 | 0.57046 | 1.329 | 4.1374 | 9.911 | 3 | 21 | 91 | 212 | 660 | 1581
152 | 90 | 310 | 320 | 0.10293 | 0.02387 | 0.0084625 | 0.9 | 3.2 | 7.5 | 23.3 | 70 | 163.9 | 0.095744 | 0.18723 | 0.64667 | 1.8129 | 6.1107 | 24.4427 | 0.10293 | 0.41173 | 1.6469 | 6.5876 | 26.3505 | 105.4022 | 8.7437 | 31.0885 | 72.8638 | 226.3634 | 680.0617 | 1592.3159 | 0.092639 | 0.32938 | 0.77199 | 2.3983 | 7.2052 | 16.8705 | 9 | 32 | 75 | 233 | 700 | 1639
12 | 64 | 357 | 360 | 0.044544 | 0.023352 | 0.021759 | 1 | 4.6667 | 13.6667 | 34.3333 | 107.6667 | 186.3333 | 0.038585 | 0.11742 | 0.46966 | 1.4946 | 5.9782 | 23.9128 | 0.044544 | 0.17817 | 0.7127 | 2.8508 | 11.4031 | 45.6126 | 22.4499 | 104.7664 | 306.8159 | 770.7813 | 2417.1103 | 4183.1724 | 0.044544 | 0.20787 | 0.60876 | 1.5293 | 4.7959 | 8.2999 | 3 | 14 | 41 | 103 | 323 | 559
96 | 64 | 392 | 400 | 0.095639 | 0.019277 | 0.0051628 | 0.375 | 2.75 | 7.25 | 20.625 | 69.875 | 173 | 0.095639 | 0.18582 | 0.60536 | 1.2338 | 4.935 | 19.7401 | 0.095639 | 0.38256 | 1.5302 | 6.1209 | 24.4836 | 97.9345 | 3.921 | 28.7539 | 75.8058 | 215.6543 | 730.6107 | 1808.8824 | 0.035865 | 0.26301 | 0.69338 | 1.9726 | 6.6828 | 16.5456 | 3 | 22 | 58 | 165 | 559 | 1384
101 | 64 | 432 | 438 | 0.030079 | 0.015036 | 0.0092196 | 0.33333 | 1.5 | 8.1667 | 22 | 90.6667 | 173.5 | 0.02852 | 0.10135 | 0.24057 | 0.96229 | 3.8492 | 15.3967 | 0.030079 | 0.12032 | 0.48127 | 1.9251 | 7.7003 | 30.8013 | 11.0818 | 49.868 | 271.5034 | 731.397 | 3014.242 | 5768.0624 | 0.010026 | 0.045119 | 0.24565 | 0.66175 | 2.7272 | 5.2188 | 2 | 9 | 49 | 132 | 544 | 1041
24 | 64 | 468 | 478 | 0.10538 | 0.016431 | 0.0060106 | 0.5 | 1.8 | 4.3 | 13.9 | 58.6 | 173 | 0.10538 | 0.15057 | 0.50129 | 1.0516 | 4.2063 | 16.8253 | 0.10538 | 0.42153 | 1.6861 | 6.7445 | 26.978 | 107.9121 | 4.7446 | 17.0806 | 40.8036 | 131.9 | 556.0675 | 1641.6328 | 0.052691 | 0.18969 | 0.45315 | 1.4648 | 6.1754 | 18.2312 | 5 | 18 | 43 | 139 | 586 | 1730
107 | 45 | 515 | 520 | 0.027725 | 0.014479 | 0.014643 | 0.2 | 2.6 | 7.8 | 15.6 | 69 | 188.6 | 0.027725 | 0.078678 | 0.26511 | 0.92665 | 3.7066 | 14.8264 | 0.027725 | 0.1109 | 0.4436 | 1.7744 | 7.0976 | 28.3903 | 7.2137 | 93.7786 | 281.3357 | 562.6714 | 2488.7389 | 6802.553 | 0.005545 | 0.072085 | 0.21625 | 0.43251 | 1.913 | 5.2289 | 1 | 13 | 39 | 78 | 345 | 943
162 | 45 | 550 | 560 | 0.022481 | 0.0091861 | 0.005264 | 0 | 0.8 | 4 | 12.1 | 63.1 | 188.1 |  | 0.077959 | 0.24135 | 0.62231 | 2.3516 | 9.4066 |  | 0.089924 | 0.3597 | 1.4388 | 5.7552 | 23.0207 | 0 | 35.5854 | 177.9271 | 538.2295 | 2806.8003 | 8367.0227 | 0 | 0.017985 | 0.089924 | 0.27202 | 1.4186 | 4.2287 | 0 | 8 | 40 | 121 | 631 | 1881
159 | 45 | 595 | 610 | 0.010957 | 0.0049906 | 0.0045767 | 0 | 0 | 0.73333 | 4.8 | 51.8 | 188 |  |  | 0.12254 | 0.35901 | 1.2776 | 5.1103 |  |  | 0.17532 | 0.70127 | 2.8051 | 11.2203 | 0 | 0 | 66.9261 | 438.062 | 4727.419 | 17157.4281 | 0 | 0 | 0.0080354 | 0.052595 | 0.56759 | 2.06 | 0 | 0 | 11 | 72 | 777 | 2820
35 | 45 | 642 | 648 | 0.02228 | 0.0094454 | 0.0063513 | 0 | 1 | 4 | 17.1667 | 69.6667 | 189.8333 |  | 0.072704 | 0.21382 | 0.6045 | 2.418 | 9.672 |  | 0.089118 | 0.35647 | 1.4259 | 5.7036 | 22.8142 | 0 | 44.8843 | 179.5372 | 770.5138 | 3126.9397 | 8520.5366 | 0 | 0.02228 | 0.089118 | 0.38246 | 1.5521 | 4.2294 | 0 | 6 | 24 | 103 | 418 | 1139
69 | 32 | 685 | 689 | 0.010897 | 0.0072705 | 0.0068586 | 0 | 0.25 | 3 | 14.25 | 68.75 | 207.5 |  | 0.043588 | 0.13106 | 0.52424 | 1.8612 | 7.445 |  | 0.043588 | 0.17435 | 0.69741 | 2.7896 | 11.1585 | 0 | 22.9421 | 275.3049 | 1307.6983 | 6309.0707 | 19041.9226 | 0 | 0.0027243 | 0.032691 | 0.15528 | 0.74917 | 2.2611 | 0 | 1 | 12 | 57 | 275 | 830
85 | 32 | 730 | 736 | 0.011316 | 0.0067711 | 0.0050495 | 0 | 0.16667 | 2.8333 | 12.6667 | 54.6667 | 204.6667 |  | 0.045265 | 0.12707 | 0.43335 | 1.7334 | 6.9336 |  | 0.045265 | 0.18106 | 0.72424 | 2.897 | 11.5878 | 0 | 14.7281 | 250.3778 | 1119.3361 | 4830.819 | 18086.115 | 0 | 0.001886 | 0.032063 | 0.14334 | 0.61862 | 2.3161 | 0 | 1 | 17 | 76 | 328 | 1228
61 | 32 | 782 | 788 | 0.024554 | 0.0082745 | 0.004283 | 0 | 1 | 4.5 | 10.6667 | 60.6667 | 200.1667 |  | 0.064224 | 0.22894 | 0.58198 | 2.1183 | 8.4731 |  | 0.098217 | 0.39287 | 1.5715 | 6.2859 | 25.1434 | 0 | 40.7263 | 183.2685 | 434.4142 | 2470.7308 | 8152.0542 | 0 | 0.024554 | 0.11049 | 0.26191 | 1.4896 | 4.9149 | 0 | 6 | 27 | 64 | 364 | 1201
52 | 32 | 820 | 825 | 0.016195 | 0.0087837 | 0.0075117 | 0 | 0.6 | 4.2 | 14.8 | 79 | 198 |  | 0.056606 | 0.17331 | 0.56216 | 2.2486 | 8.9945 |  | 0.064781 | 0.25912 | 1.0365 | 4.146 | 16.5839 | 0 | 37.0481 | 259.3365 | 913.8524 | 4877.9959 | 12225.8631 | 0 | 0.0097171 | 0.06802 | 0.23969 | 1.2794 | 3.2066 | 0 | 3 | 21 | 74 | 395 | 990
165 | 16 | 865 | 875 | 0.010625 | 0.0053979 | 0.0050606 | 0 | 0.1 | 1.1 | 6.2 | 60.7 | 191.1 |  | 0.042502 | 0.11637 | 0.36853 | 1.3819 | 5.5275 |  | 0.042502 | 0.17001 | 0.68003 | 2.7201 | 10.8805 | 0 | 9.4113 | 103.5247 | 583.5026 | 5712.679 | 17985.0571 | 0 | 0.0010625 | 0.011688 | 0.065878 | 0.64497 | 2.0305 | 0 | 1 | 11 | 62 | 607 | 1911
166 | 16 | 920 | 930 | 0.0054104 | 0.0042238 | 0.0040413 | 0 | 0 | 0.2 | 3.2 | 53.6 | 202 |  |  | 0.078664 | 0.28603 | 1.0813 | 4.3252 |  |  | 0.085639 | 0.34627 | 1.3851 | 5.5403 | 0 | 0 | 36.9657 | 591.4507 | 9906.799 | 37335.3246 | 0 | 0 | 0.0010821 | 0.017313 | 0.29 | 1.0929 | 0 | 0 | 2 | 32 | 536 | 2020
53 | 22.6 | 970 | 985 | 0.0054074 | 0.0037739 | 0.0035257 | 0 | 0 | 0.13333 | 2 | 40.0667 | 200.2 |  |  | 0.085713 | 0.28274 | 0.96612 | 3.8645 |  |  | 0.085713 | 0.34607 | 1.3843 | 5.5372 | 0 | 0 | 24.6575 | 369.8623 | 7409.5738 | 37023.2113 | 0 | 0 | 0.00072099 | 0.010815 | 0.21666 | 1.0826 | 0 | 0 | 2 | 30 | 601 | 3003
45 | 22.6 | 1020 | 1030 | 0.0069635 | 0.0047307 | 0.0045596 | 0 | 0.1 | 0.4 | 5.1 | 49.4 | 193.1 |  | 0.027854 | 0.10223 | 0.31208 | 1.2111 | 4.8442 |  | 0.027854 | 0.11142 | 0.44566 | 1.7827 | 7.1306 | 0 | 14.3606 | 57.4425 | 732.3924 | 7094.154 | 27730.3872 | 0 | 0.00069635 | 0.0027854 | 0.035514 | 0.344 | 1.3446 | 0 | 1 | 4 | 51 | 494 | 1931
1.1 | 32 | 50 | 70 | 0.014003 | 0.0056785 | 0.0046667 | 0 | 0.05 | 0.9 | 7.55 | 59.8 | 180.85 |  | 0.056013 | 0.17662 | 0.372 | 1.4537 | 5.8148 |  | 0.056013 | 0.22405 | 0.8962 | 3.5848 | 14.3393 | 0 | 3.5706 | 64.2711 | 539.1634 | 4270.4599 | 12914.9276 | 0 | 0.00070016 | 0.012603 | 0.10572 | 0.83739 | 2.5325 | 0 | 1 | 18 | 151 | 1196 | 3617
1.2 | 32 | 70 | 90 | 0.010891 | 0.0048212 | 0.0041136 | 0 | 0.05 | 0.55 | 5.15 | 48.6 | 175.05 |  | 0.043563 | 0.14678 | 0.32809 | 1.2342 | 4.937 |  | 0.043563 | 0.17425 | 0.69701 | 2.788 | 11.1522 | 0 | 4.591 | 50.5013 | 472.8762 | 4462.4817 | 16073.1981 | 0 | 0.00054454 | 0.0059899 | 0.056088 | 0.52929 | 1.9064 | 0 | 1 | 11 | 103 | 972 | 3501
1.3 | 32 | 90 | 100 | 0.023198 | 0.0091427 | 0.0061376 | 0 | 0.4 | 3.5 | 16.3 | 78.8 | 174.9 |  | 0.092792 | 0.22237 | 0.58513 | 2.3405 | 9.3621 |  | 0.092792 | 0.37117 | 1.4847 | 5.9387 | 23.7547 | 0 | 17.2429 | 150.8755 | 702.6488 | 3396.8541 | 7539.4642 | 0 | 0.0092792 | 0.081193 | 0.37813 | 1.828 | 4.0573 | 0 | 4 | 35 | 163 | 788 | 1749
2.1 | 45 | 120 | 140 | 0.035346 | 0.0078507 | 0.0040069 | 0 | 0.55 | 2.8 | 10.2 | 60.75 | 171.2 |  | 0.082766 | 0.28138 | 0.60837 | 2.0098 | 8.0392 |  | 0.14138 | 0.56553 | 2.2621 | 9.0486 | 36.1942 | 0 | 15.5605 | 79.2171 | 288.5764 | 1718.7271 | 4843.5568 | 0 | 0.01944 | 0.098969 | 0.36053 | 2.1473 | 6.0512 | 0 | 11 | 56 | 204 | 1215 | 3424
2.2 | 45 | 140 | 155 | 0.024016 | 0.006515 | 0.0042644 | 0.066667 | 0.33333 | 1.7333 | 7.4667 | 54.0667 | 187.2 | 0.024016 | 0.061687 | 0.19687 | 0.46345 | 1.6678 | 6.6713 | 0.024016 | 0.096065 | 0.38426 | 1.537 | 6.1481 | 24.5926 | 2.7759 | 13.8795 | 72.1735 | 310.9011 | 2251.2574 | 7794.736 | 0.0016011 | 0.0080054 | 0.041628 | 0.17932 | 1.2985 | 4.4958 | 1 | 5 | 26 | 112 | 811 | 2808
2.3 | 45 | 160 | 170 | 0.019422 | 0.0075774 | 0.0053544 | 0 | 0.3 | 2.8 | 14.7 | 70 | 183.8 |  | 0.066745 | 0.16107 | 0.48495 | 1.9398 | 7.7592 |  | 0.077688 | 0.31075 | 1.243 | 4.9721 | 19.8883 | 0 | 15.4463 | 144.1655 | 756.8689 | 3604.1377 | 9463.4358 | 0 | 0.0058266 | 0.054382 | 0.28551 | 1.3595 | 3.5698 | 0 | 3 | 28 | 147 | 700 | 1838
3.1 | 64 | 190 | 210 | 0.12653 | 0.015222 | 0.0045053 | 0.5 | 1.9 | 5.65 | 15.6 | 60.6 | 165.3 | 0.095478 | 0.19248 | 0.54261 | 1.4446 | 3.8969 | 15.5877 | 0.12653 | 0.50614 | 2.0245 | 8.0982 | 32.3927 | 129.5709 | 3.9515 | 15.0157 | 44.652 | 123.2869 | 478.9222 | 1306.3669 | 0.063267 | 0.24041 | 0.71492 | 1.9739 | 7.668 | 20.9161 | 10 | 38 | 113 | 312 | 1212 | 3306
3.2 | 64 | 215 | 230 | 0.051503 | 0.013753 | 0.0045701 | 0.13333 | 2 | 7.3333 | 18.6 | 68.8 | 171.3333 | 0.028718 | 0.11588 | 0.42433 | 1.0318 | 3.5207 | 14.0829 | 0.034787 | 0.20601 | 0.82405 | 3.2962 | 13.1848 | 52.739 | 2.5888 | 38.8327 | 142.3867 | 361.1444 | 1335.8458 | 3326.6702 | 0.0068671 | 0.10301 | 0.37769 | 0.95795 | 3.5434 | 8.8242 | 2 | 30 | 110 | 279 | 1032 | 2570
3.3 | 64 | 230 | 250 | 0.050434 | 0.0098603 | 0.0043864 | 0.2 | 1 | 3.4 | 12.25 | 57.75 | 167.8 | 0.0421 | 0.10746 | 0.34298 | 0.75986 | 2.5242 | 10.0969 | 0.050434 | 0.20173 | 0.80694 | 3.2277 | 12.911 | 51.644 | 3.9656 | 19.8281 | 67.4154 | 242.8939 | 1145.0712 | 3327.1506 | 0.010087 | 0.050434 | 0.17147 | 0.61781 | 2.9125 | 8.4627 | 4 | 20 | 68 | 245 | 1155 | 3356
4.1 | 90 | 270 | 285 | 0.096841 | 0.029414 | 0.0095408 | 0.8 | 4.0667 | 12.4667 | 32.6667 | 67.9333 | 150.5333 | 0.069669 | 0.21182 | 0.71877 | 2.4352 | 7.53 | 30.1199 | 0.096841 | 0.38736 | 1.5495 | 6.1978 | 24.7912 | 99.1649 | 8.261 | 41.9934 | 128.7337 | 337.3237 | 701.4956 | 1554.4426 | 0.077473 | 0.39382 | 1.2073 | 3.1635 | 6.5787 | 14.5778 | 12 | 61 | 187 | 490 | 1019 | 2258
4.2 | 90 | 290 | 310 | 0.04167 | 0.0099726 | 0.0062823 | 0 | 0.75 | 4.1 | 17.65 | 69.7 | 167.75 |  | 0.079121 | 0.25286 | 0.66085 | 2.553 | 10.2119 |  | 0.16668 | 0.66672 | 2.6669 | 10.6675 | 42.6701 | 0 | 17.9986 | 98.3922 | 423.5664 | 1672.6672 | 4025.6804 | 0 | 0.031252 | 0.17085 | 0.73548 | 2.9044 | 6.9901 | 0 | 15 | 82 | 353 | 1394 | 3355
4.3 | 90 | 310 | 330 | 0.065042 | 0.015522 | 0.0093038 | 0.3 | 1.6 | 7.1 | 20.95 | 76.55 | 164.3 | 0.062039 | 0.13351 | 0.41039 | 1.1778 | 3.9735 | 15.8942 | 0.065042 | 0.26017 | 1.0407 | 4.1627 | 16.6506 | 66.6025 | 4.6124 | 24.5997 | 109.161 | 322.1019 | 1176.9404 | 2526.0784 | 0.019512 | 0.10407 | 0.46179 | 1.3626 | 4.9789 | 10.6863 | 6 | 32 | 142 | 419 | 1531 | 3286

## validation
[39 empty] | RMSE | Amplitude |  | Number of Impulses per second | [5 empty] | Number of Impulses per second / Max Amp | [5 empty] | Number of Impulses per second * Max Amp
Hilbert Env | time (s) | Max Amp (V) | Mean Amp (V) | Med Amp (V) | ch6_imp/s | ch5_imp/s | ch4_imp/s | ch3_imp/s | ch2_imp/s | ch1_imp/s |  | ch6_mean | ch5_mean | ch4_mean | ch3_mean | ch2_mean | ch1_mean |  | ch6_max | ch5_max | ch4_max | ch3_max | ch2_max | ch1_max | ch6_median | ch5_median | ch4_median | ch3_median | ch2_median | ch1_median | ch6_imp | ch5_imp | ch4_imp | ch3_imp | ch2_imp | ch1_imp |  |  |  | Max | Mean | Ch1 | Ch2 | Ch3 | Ch4 | Ch5 | Ch6 | Ch1 | Ch2 | Ch3 | Ch4 | Ch5 | Ch6 | Ch1 | Ch2 | Ch3 | Ch4 | Ch5 | Ch6
flood1 | 480 | 0.21699 | 0.069417 | 0.053667 | 0.22083 | 8.7479 | 80.6063 | 167.9188 | 148.0833 | 47.8833 |  | 0.12091 | 0.3318 | 1.1107 | 4.4427 | 17.7708 | 71.0831 |  | 0.21699 | 0.86795 | 3.4718 | 13.8873 | 55.549 | 222.1961 | 0.11836 | 0.30694 | 0.85868 | 3.4347 | 13.7388 | 54.9553 | 106 | 4199 | 38691 | 80601 | 71080 | 22984 |  | 4 | Solve | 41.8129 | 89.0376 | 110.0545 | 937.5601 | 293.212 | 117.8999 | 72.2824 | 45.8328 | 32.2126 | 68.4433 | 282.3092 | 1804.9702 | 197.5926 | 80.9059 | 33.6317 | 85.2311 | 263.4345 | 136.0466 | 56.3244 | 61.7651
flood2 | 50 | 0.10379 | 0.0093098 | 0.0026624 | 0.14 | 0.64 | 2.96 | 9.5 | 37.66 | 117.3201 |  | 0.087491 | 0.20928 | 0.53107 | 1.1428 | 2.4263 | 9.5332 |  | 0.10379 | 0.41514 | 1.6606 | 6.6423 | 26.5691 | 106.2762 | 0.10376 | 0.14699 | 0.24911 | 0.37212 | 0.69719 | 2.7263 | 7 | 32 | 148 | 475 | 1883 | 5866 |  | 6 | Linear | 33.731 | 57.4752 | 9787.9572 | 34.582 | 162.8993 | 66.6848 | 50.1656 | 54.4609 | 35.081 | 53.6401 | 87.7836 | 211.0532 | 213.2089 | 215.5187 | 30.9329 | 44.007 | 171.3859 | 87.0479 | 44.8981 | 50.8658
flood3 | 100 | 0.017344 | 0.0037541 | 0.0035652 | 0 | 0.03 | 0.17 | 2.21 | 29.65 | 148.97 |  | 0 | 0.0489 | 0.13779 | 0.30127 | 0.96106 | 3.8442 |  |  | 0.069374 | 0.2775 | 1.11 | 4.44 | 17.7598 |  | 0.0489 | 0.1137 | 0.28479 | 0.9127 | 3.6508 | 0 | 3 | 17 | 221 | 2965 | 14897 |  | 10 | Power | 34.161 | 55.3004 | 6173802043186715 | 45.6818 | 85.7498 | 47.8833 | 55.515 | 58.9383 | 38.5521 | 57.982 | 85.7733 | 51.8795 | 0 | 0 | 30.3122 | 27.4766 | 42.6575 | 41.376 | 0 | 0
flood5 | 150 | 0.095591 | 0.004175 | 0.0030009 | 0.026667 | 0.046667 | 0.28667 | 2.1667 | 31.58 | 140.9334 |  | 0.095591 | 0.38236 | 0.30151 | 0.40942 | 1.0844 | 4.2752 |  | 0.095591 | 0.38236 | 1.5295 | 6.1178 | 24.4712 | 97.8849 | 0.095591 | 0.38236 | 0.16113 | 0.28514 | 0.77491 | 3.0729 | 4 | 7 | 43 | 325 | 4737 | 21140
[40 empty] | 33.731 | 55.3004 | 110.0545 | 34.582 | 85.7498 | 47.8833 | 50.1656 | 45.8328 | 32.2126 | 53.6401 | 85.7733 | 51.8795 | 0 | 0 | 30.3122 | 27.4766 | 42.6575 | 41.376
Events | time (s) | Max Amp (V) | Mean Amp (V) | Med Amp (V) | ch6_imp/s | ch5_imp/s | ch4_imp/s | ch3_imp/s | ch2_imp/s | ch1_imp/s |  | ch6_mean | ch5_mean | ch4_mean | ch3_mean | ch2_mean | ch1_mean |  | ch6_max | ch5_max | ch4_max | ch3_max | ch2_max | ch1_max | ch6_median | ch5_median | ch4_median | ch3_median | ch2_median | ch1_median | ch6_imp | ch5_imp | ch4_imp | ch3_imp | ch2_imp | ch1_imp |  |  |  | Power | Power | Solve | Linear | Power | Power | Linear | Linear | Solve | Linear | Power | Power | Solve | Solve | Power | Power | Power | Power | Linear | Linear
ST1 | 60 | 0.00010016 | 9.672e-05 | 9.6709e-05 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
ST2 | 60 | 0.027101 | 0.017342 | 0.017533 | 0 | 0.18333 | 3.3167 | 43.7833 | 197.5333 | 251.9833 |  | 0 | 0.085195 | 0.28355 | 2.2279 | 8.9116 | 35.6466 |  | 0 | 0.1084 | 0.43361 | 2.3259 | 9.3037 | 37.2149 | 0 | 0.08155 | 0.28905 | 2.2282 | 8.9129 | 35.6518 | 0 | 11 | 199 | 2627 | 11852 | 15119
ST4 | 60 | 0.033895 | 0.024547 | 0.024512 | 0 | 0.033333 | 1.95 | 82.25 | 171.4833 | 176.4667 |  | 0 | 0.1073 | 0.40213 | 1.571 | 6.2841 | 25.1363 |  | 0 | 0.11418 | 0.54231 | 2.1693 | 8.677 | 34.7081 | 0 | 0.1073 | 0.3966 | 1.5688 | 6.2751 | 25.1005 | 0 | 2 | 117 | 4935 | 10289 | 10588
ST7 | 60 | 0.12149 | 0.063304 | 0.058735 | 0.033333 | 2.1 | 34.25 | 161.3333 | 152.45 | 154.5 |  | 0.078998 | 0.26878 | 1.0129 | 4.0515 | 16.2058 | 64.8234 |  | 0.078998 | 0.48595 | 1.9438 | 7.7752 | 31.1009 | 124.4036 | 0.078998 | 0.25333 | 0.93976 | 3.759 | 15.0361 | 60.1446 | 2 | 126 | 2055 | 9680 | 9147 | 9270
SP1 | 60 | 0.0034809 | 0.0025349 | 0.0025142 | 0 | 0 | 0 | 0 | 0 | 0
SP2 | 60 | 0.0041523 | 0.0032782 | 0.0032409 | 0 | 0 | 0 | 0 | 0 | 0
SP3 | 60 | 0.0081501 | 0.0051433 | 0.0049482 | 0 | 0 | 0 | 0 | 0 | 0
SP4 | 60 | 0.01829 | 0.0057656 | 0.0053058 | 0 | 0 | 0 | 0 | 0 | 0
| Over the whole sampling period |  |  |  |  | Over the whole sampling period |  |  |  |  | Over the whole sampling period (Imp/s) |  |  |  |  | Over the whole sampling period (Imp/s) |  |  |  |  | Over the whole sampling period (Imp/s) |  |  |  |  | Over the whole sampling period (Imp/s) |  |  |  |  | Over the whole sampling period (Imp/s) | [5 empty] | Over the whole sampling period (Imp/s) |  |  |  |  | Number of Impulses per second Ch3: Max Amplitude by Channel: Linear; Number of Impulses per second / Max Amp Ch1: Only during impulse (threshold exceedance); Number of Impulses per second / Max Amp Ch6: Max Amplitude by Channel: Power; Number of Impulses per second * Max Amp Ch4: Only during impulse (threshold exceedance) |  | Mean Amplitude by Channel: Linear |  |  |  | Only during impulse (threshold exceedance) |  |  |  |  | Mean Amplitude by Channel: Power |  |  |  | Only during impulse (threshold exceedance)
Experiment | Measured Dmax | Max Amp - Dmax (1) | Dmax - Max Amp (2) | Dmax - Max Amp (3) |  |  | Mean Amp - Dmax (1) | Dmax - Mean Amp (2) | Dmax - Mean Amp (3) |  | Ch1 (x1024) | Imp/s - Dmax (1) | Dmax - Imp/s (2) | Dmax - Imp/s (3) |  | Ch2 (x256) | Imp/s - Dmax (1) | Dmax - Imp/s (2) | Dmax - Imp/s (3) |  | Ch3 (x64) | Imp/s - Dmax (1) | Dmax - Imp/s (2) | Dmax - Imp/s (3) |  | Ch4 (x16) | Imp/s - Dmax (1) | Dmax - Imp/s (2) | Dmax - Imp/s (3) |  | Ch5 (x4) | Imp/s - Dmax (1) | Dmax - Imp/s (2) | Dmax - Imp/s (3) |  |  | Ch6 (x1) | Imp/s - Dmax (1) | Dmax - Imp/s (2) | Dmax - Imp/s (3) |  |  |  | Measured Dmax | Max Amp | Ch1 | Ch2 | Ch3 | Ch4 | Ch5 | Ch6 |  | Measured Dmax | Max Amp | Ch1 | Ch2 | Ch3 | Ch4 | Ch5 | Ch6 | Measured Dmax | Max Amp | Ch1 | Ch2 | Ch3 | Ch4 | Ch5 | Ch6 |  | Measured Dmax | Max Amp | Ch1 | Ch2 | Ch3 | Ch4 | Ch5 | Ch6
flood2 | 90 | 124.9838 | 97.6955 | 99.7272 |  | flood2 | 42.0488 | 47.47 | 45.3043 |  | flood2 | 192.2418 | 156.8962 | 1.1732e+14 |  | flood2 | -267.0866 | 47.0115 | 32.3421 |  | flood2 | 27.1387 | 41.2073 | 40.9236 |  | flood2 | 34.0558 | 45.4404 | 49.2608 |  | flood2 | 29.6151 | 49.5983 | 42.1595 |  |  | flood2 | 44.6377 | 53.0976 | 45.7691 |  |  | flood2 | 90 | flood2 | 97.6955 | 97.6955 | 97.6955 | 97.6958 | 97.21 | 94.7515 |  | 90 | flood2 | 99.6942 | 99.6986 | 99.7075 | 99.6795 | 100.0857 | 94.3842 | 90 | flood2 | 364.3326 | 364.3273 | 319.9639 | 234.7195 | 187.6241 | 95.8219 |  | 90 | flood2 | 318.9671 | 318.9568 | 285.1283 | 213.3008 | 184.1264 | 97.5776
flood3 | 45 | 28.9373 | 42.5586 | 37.9045 |  | flood3 | 14.2706 | 28.837 | 21.7234 |  | flood3 | 122.8796 | 106.253 | 1.4897e+14 |  | flood3 | -362.3305 | 42.8711 | 25.9606 |  | flood3 | -7.96 | 20.5656 | 15.2634 |  | flood3 | 3.5639 | 27.7047 | 16.1788 |  | flood3 | 4.0921 | 40.1659 | 35.2249 |  |  | flood3 | 24.3478 | 43.217 | 38.631 |  |  | flood3 | 45 | flood3 | 42.5586 | 42.5586 | 42.5586 | 42.5612 | 44.0725 | 59.342 |  | 45 | flood3 | 37.892 | 37.8937 | 37.897 | 37.9203 | 37.2062 | 0 | 45 | flood3 | 74.4148 | 74.4139 | 68.5828 | 55.2663 | 46.43 | 67.995 |  | 45 | flood3 | 74.976 | 74.9735 | 69.4138 | 53.9446 | 42.7495 | 0
flood5 | 90 | 115.8786 | 92.4686 | 95.3893 |  | flood5 | 16.3751 | 30.2486 | 23.6743 |  | flood5 | 140.4923 | 119.1125 | 1.4093e+14 |  | flood5 | -339.3816 | 43.8687 | 27.5098 |  | flood5 | -8.1687 | 20.4429 | 15.0604 |  | flood5 | 4.839 | 28.4463 | 19.8326 |  | flood5 | 4.7894 | 40.4236 | 35.3983 |  |  | flood5 | 28.2126 | 45.099 | 39.899 |  |  | flood5 | 90 | flood5 | 92.4685 | 92.4685 | 92.4685 | 92.4691 | 92.1725 | 91.9557 |  | 90 | flood5 | 95.3578 | 95.3619 | 95.3704 | 95.3476 | 95.6346 | 91.8342 | 90 | flood5 | 336.8485 | 336.8436 | 296.1331 | 217.7074 | 174.2389 | 93.6248 |  | 90 | flood5 | 298.4265 | 298.4168 | 267.1972 | 200.2373 | 172.1715 | 95.1774
ST2 | 128 | 39.7785 | 48.7822 | 48.2504 |  | ST2 | 82.2078 | 74.4079 | 74.95 |  | ST2 | -102.8782 | -23847.2919 | 15118999999999996 |  | ST2 | 1633.9041 | 129.65 | 148.3543 |  | ST2 | 192.2004 | 138.2805 | 115.0156 |  | ST2 | 37.9537 | 47.7077 | 51.494 |  | ST2 | 10.5077 | 42.5369 | 36.8526 |  |  | ST2 | 24.3478 | 43.217 | 38.631 |  |  | ST2 | 128 | ST2 | 54.6771 | 54.6771 | 54.6771 | 48.7845 | 50.0703 | 59.342 |  | 128 | ST2 | 56.5278 | 56.5303 | 56.5353 | 48.2597 | 47.6243 | 0 | 128 | ST2 | 138.1358 | 138.134 | 123.8339 | 75.522 | 62.3672 | 67.995 |  | 128 | ST2 | 136.4369 | 136.4325 | 124.4969 | 76.0143 | 61.5381 | 0
ST4 | 64 | 47.3274 | 53.1157 | 54.4541 |  | ST4 | 118.2358 | 98.5747 | 99.29 |  | ST4 | 62.6196 | 62.2557 | 1.7647e+14 |  | ST4 | 1324.1538 | 116.1847 | 130.2718 |  | ST4 | 377.4035 | 247.1989 | 176.1757 |  | ST4 | 23.0175 | 39.02 | 41.8664 |  | ST4 | 4.2315 | 40.2174 | 35.2596 |  |  | ST4 | 24.3478 | 43.217 | 38.631 |  |  | ST4 | 64 | ST4 | 53.1157 | 53.1157 | 53.1157 | 53.1178 | 50.958 | 59.342 |  | 64 | ST4 | 54.4361 | 54.4385 | 54.4433 | 54.4585 | 49.0115 | 0 | 64 | ST4 | 129.9255 | 129.9237 | 116.7149 | 89.6263 | 64.7259 | 67.995 |  | 64 | ST4 | 128.9501 | 128.946 | 117.8262 | 90.2706 | 64.2015 | 0
ST7 | 128 | 144.6532 | 108.9871 | 108.5915 |  | ST7 | 312.0203 | 228.5615 | 213.7352 |  | ST7 | 110.7605 | 97.4046 | 1.545e+14 |  | ST7 | 1097.8359 | 106.3464 | 116.9202 |  | ST7 | 758.161 | 471.1233 | 277.8583 |  | ST7 | 376.023 | 244.3478 | 127.9077 |  | ST7 | 90.7029 | 72.1743 | 64.8176 |  |  | ST7 | 29.1787 | 45.5695 | 40.2224 |  |  | ST7 | 128 | ST7 | 108.987 | 108.987 | 108.987 | 108.9869 | 108.0921 | 86.2944 |  | 128 | ST7 | 108.5556 | 108.5603 | 108.57 | 108.531 | 109.1949 | 86.1849 | 128 | ST7 | 423.7052 | 423.699 | 371.4445 | 271.4699 | 216.5394 | 89.1759 |  | 128 | ST7 | 362.3259 | 362.3142 | 322.889 | 240.7402 | 209.3831 | 89.8383
Max Amp by Channel
[46 empty] | Only during impulse (threshold exceedance) Ch6: RMSE | Linear | Power | [14 empty] | RMSE | Linear | Power
[46 empty] | Only during impulse (threshold exceedance) Ch6: Ch1 | 31.4311 | 30.9597 | [14 empty] | Ch1 | 195.3408 | 179.5978
[46 empty] | Only during impulse (threshold exceedance) Ch6: Ch2 | 31.4311 | 30.9585 | [14 empty] | Ch2 | 195.3369 | 179.5895
[46 empty] | Only during impulse (threshold exceedance) Ch6: Ch3 | 31.4311 | 30.9558 | [14 empty] | Ch3 | 162.2713 | 152.8288
[46 empty] | Only during impulse (threshold exceedance) Ch6: Ch4 | 33.73 | 34.159 | [14 empty] | Ch4 | 101.1209 | 95.6301
[46 empty] | Only during impulse (threshold exceedance) Ch6: Ch5 | 33.4091 | 34.7197 | [14 empty] | Ch5 | 69.2533 | 72.1503
[46 empty] | Only during impulse (threshold exceedance) Ch6: Ch6 | 33.4342 | 63.6083 | [14 empty] | Ch6 | 30.8212 | 26.5156
| 0 | 0
| 150 | 150
| RMSE | Max Amp |  |  |  |  | RMSE | Mean Amp |  |  |  | RMSE | Ch1 |  |  | RMSE | Ch2 |  |  |  |  | RMSE | Ch3 |  |  | RMSE | Ch4 |  |  |  |  | RMSE | Ch5 |  |  |  |  | RMSE | Ch6
| 1 | 41.8129 |  |  |  |  | 1 | 89.0376 |  |  |  | 1 | 110.0545 |  |  | 1 | 937.5601 |  |  |  |  | 1 | 293.212 |  |  | 1 | 117.8999 |  |  |  |  | 1 | 72.2824 |  |  |  |  | 1 | 45.8328
| 2 | 33.731 | linear |  |  |  | 2 | 57.4752 | linear |  |  | 2 | 9787.9572 | linear |  | 2 | 34.582 | linear |  |  |  | 2 | 162.8993 | linear |  | 2 | 66.6848 | linear |  |  |  | 2 | 50.1656 | linear |  |  |  | 2 | 54.4609 | linear
| 3 | 34.161 | power |  |  |  | 3 | 55.3004 | power |  |  | 3 | 6173802043186715 | power |  | 3 | 45.6818 | power |  |  |  | 3 | 85.7498 | power |  | 3 | 47.8833 | power |  |  |  | 3 | 55.515 | power |  |  |  | 3 | 58.9383 | power
| (Imp/s)/MaxAmp | [9 empty] | (Imp/s)/MaxAmp |  |  |  |  | (Imp/s)/MaxAmp |  |  |  |  | (Imp/s)/MaxAmp |  |  |  |  | (Imp/s)/MaxAmp |  |  |  |  | (Imp/s)/MaxAmp | [5 empty] | (Imp/s)/MaxAmp
Calibration | ch6 | ch5 | ch4 | ch3 | ch2 | ch1 |  |  |  | Measured Dmax | Ch1 (x1024) | Imps/Amax - Dmax (1) | Dmax - Imps/Amax (2) | Dmax - Imps/Amax (3) |  | Ch2 (x256) | Imps/Amax - Dmax (1) | Dmax - Imps/Amax (2) | Dmax - Imps/Amax (3) |  | Ch3 (x64) | Imps/Amax - Dmax (1) | Dmax - Imps/Amax (2) | Dmax - Imps/Amax (3) |  | Ch4 (x16) | Imps/Amax - Dmax (1) | Dmax - Imps/Amax (2) | Dmax - Imps/Amax (3) |  | Ch5 (x4) | Imps/Amax - Dmax (1) | Dmax - Imps/Amax (2) | Dmax - Imps/Amax (3) |  |  | Ch6 (x1) | Imps/Amax - Dmax (1) | Dmax - Imps/Amax (2) | Dmax - Imps/Amax (3)
flood2 | 1.3489 | 6.1666 | 28.5204 | 91.5351 | 362.8643 | 1130.41 |  |  |  | 90 | flood2 | 100.7587 | 80.68 | 116.9091 |  | flood2 | 108.0316 | 88.2868 | 136.1285 |  | flood2 | 166.3689 | 85.515 | 114.4456 |  | flood2 | 1796.369 | 62.3611 | 43.0028 |  | flood2 | -100.3532 | 55.6253 |  |  |  | flood2 | 29.5561 | 53.2459
flood3 | 0 | 1.7297 | 9.8019 | 127.4246 | 1709.5654 | 8589.3407 |  |  |  | 45 | flood3 | 63.4286 | 62.0326 | 42.3259 |  | flood3 | 82.6317 | 73.6077 | 57.6805 |  | flood3 | 157.1428 | 83.3867 | 97.063 |  | flood3 | 2104.7464 | 62.552 | 36.637 |  | flood3 | -132.7152 | 54.4926 |  |  |  | flood3 | 11.713 | 48.722
flood5 | 0.27897 | 0.48819 | 2.9989 | 22.6661 | 330.3667 | 1474.3409 |  |  |  | 90 | flood5 | 99.0374 | 79.8201 | 102.3416 |  | flood5 | 108.6445 | 88.641 | 143.3915 |  | flood5 | 184.073 | 89.5989 | 229.3466 |  | flood5 | 2216.8221 | 62.6214 | 30.6738 |  | flood5 | -141.771 | 54.1756 |  |  |  | flood5 | 15.403 | 49.6576
ST2 | 0 | 6.7649 | 122.3832 | 1615.5818 | 7288.8754 | 9298.0516 |  |  |  | 128 | ST2 | 59.8816 | 60.2609 | 40.6776 |  | ST2 | -22.5986 | 12.7933 | 25.8305 |  | ST2 | -225.4169 | -4.861 | 27.3982 |  | ST2 | 250.0289 | 61.4037 | 53.5035 |  | ST2 | -95.989 | 55.7781 |  |  |  | ST2 | 11.713 | 48.722
ST4 | 0 | 0.98344 | 57.5312 | 2426.6373 | 5059.3053 | 5206.3295 |  |  |  | 64 | ST4 | 80.3597 | 70.4902 | 54.3923 |  | ST4 | 19.4529 | 37.0956 | 31.6214 |  | ST4 | -433.9145 | -52.9566 | 22.3737 |  | ST4 | 1318.4313 | 62.0652 | 47.776 |  | ST4 | -138.1587 | 54.3021 |  |  |  | ST4 | 11.713 | 48.722
ST7 | 0.27438 | 17.2857 | 281.921 | 1327.9784 | 1254.8573 | 1271.7314 |  |  |  | 128 | ST7 | 100.0514 | 80.3267 | 110.2091 |  | ST7 | 91.2079 | 78.5641 | 68.4583 |  | ST7 | -151.4829 | 12.1939 | 30.2079 |  | ST7 | -2378.2708 | 59.7764 | 60.6377 |  | ST7 | -19.2511 | 58.464 |  |  |  | ST7 | 15.3423 | 49.6422
(Imp/s) * MaxAmp
Calibration | ch6 | ch5 | ch4 | ch3 | ch2 | ch1
flood2 | 0.01453 | 0.066423 | 0.3072 | 0.98596 | 3.9086 | 12.1761
flood3 | 0 | 0.00052031 | 0.0029484 | 0.038329 | 0.51424 | 2.5837
flood5 | 0.0025491 | 0.0044609 | 0.027403 | 0.20711 | 3.0188 | 13.4719
ST2 | 0 | 0.0049685 | 0.089884 | 1.1866 | 5.3533 | 6.8289
ST4 | 0 | 0.0011298 | 0.066095 | 2.7878 | 5.8124 | 5.9813
ST7 | 0.0040496 | 0.25512 | 4.161 | 19.6001 | 18.5208 | 18.7699
(Imp/s) * MaxAmp (individual time stamps instead of total)
Calibration | ch6 | ch5 | ch4 | ch3 | ch2 | ch1
flood2 |  |  |  |  | 3.9086
flood3 |  |  |  |  | 0.51424 | [6 empty] | RMSE | Ch1 |  |  |  | RMSE | Ch2 |  |  |  | RMSE | Ch3 |  |  |  | RMSE | Ch4 |  |  |  | RMSE | Ch5 |  |  |  |  | RMSE | Ch4
flood5 |  |  |  |  | 3.0188 | [6 empty] | 1 | 32.2126 |  |  |  | 1 | 68.4433 |  |  |  | 1 | 282.3092 |  |  |  | 1 | 1804.9702 |  |  |  | 1 | 197.5926 |  |  |  |  | 1 | 80.9059
ST2 |  |  |  |  | 4.8253 | [6 empty] | 2 | 35.081 | linear |  |  | 2 | 53.6401 | linear |  |  | 2 | 87.7836 | linear |  |  | 2 | 211.0532 | linear |  |  | 2 | 213.2089 | linear |  |  |  | 2 | 215.5187 | linear
ST4 |  |  |  |  | 4.2532 | [6 empty] | 3 | 38.5521 | power |  |  | 3 | 57.982 | power |  |  | 3 | 85.7733 | power |  |  | 3 | 51.8795 | power |  |  | 3 |  | power |  |  |  | 3 |  | power
ST7 |  |  |  |  | 11.8421
[11 empty] | (Imp/s)*MaxAmp |  |  |  |  | (Imp/s)*MaxAmp (total) |  |  |  |  | (Imp/s)*MaxAmp |  |  |  |  | (Imp/s)*MaxAmp |  |  |  |  | (Imp/s)*MaxAmp | [5 empty] | (Imp/s)*MaxAmp
[10 empty] | Measured Dmax | Ch1 (x1024) | Imps*Amax - Dmax (1) | Dmax - Imps*Amax (2) | Dmax - Imps*Amax (3) |  | Ch2 (x256) | Imps*Amax - Dmax (1) | Dmax - Imps*Amax (2) | Dmax - Imps*Amax (3) | Time Stamps (3) | Ch3 (x64) | Imps*Amax - Dmax (1) | Dmax - Imps*Amax (2) | Dmax - Imps*Amax (3) |  | Ch4 (x16) | Imps*Amax - Dmax (1) | Dmax - Imps*Amax (2) | Dmax - Imps*Amax (3) |  | Ch5 (x4) | Imps*Amax - Dmax (1) | Dmax - Imps*Amax (2) | Dmax - Imps*Amax (3) |  |  | Ch6 (x1) | Imps*Amax - Dmax (1) | Dmax - Imps*Amax (2) | Dmax - Imps*Amax (3)
[10 empty] | 90 | flood2 | 95.2279 | 78.9071 | 82.597 |  | flood2 | 75.2305 | 69.4477 | 72.4043 | 72.4043 | flood2 | 61.2174 | 61.3102 | 68.9578 |  | flood2 | 56.9312 | 58.3671 | 67.6281 |  | flood2 | 48.0856 | 55.6009 |  |  |  | flood2 | 52.7571 | 56.664
[10 empty] | 45 | flood3 | 21.8913 | 40.8078 | 33.5371 |  | flood3 | 17.1085 | 35.4705 | 26.817 | 26.817 | flood3 | 25.4577 | 37.0906 | 23.3247 |  | flood3 | 26.8068 | 38.2311 | 21.3849 |  | flood3 | 22.7386 | 43.9639 |  |  |  | flood3 | 32 | 47.755
[10 empty] | 90 | flood5 | 105.1347 | 84.0538 | 87.5992 |  | flood5 | 59.9941 | 60.5408 | 63.8007 | 63.8007 | flood5 | 31.8269 | 41.4044 | 40.9622 |  | flood5 | 29.228 | 39.8495 | 37.1559 |  | flood5 | 24.2542 | 44.6597 |  |  |  | flood5 | 35.6416 | 49.318
[10 empty] | 128 | ST2 | 54.3472 | 57.6691 | 59.0122 |  | ST2 | 99.9689 | 83.9094 | 84.4615 | 80.2739 | ST2 | 68.7871 | 66.437 | 73.3551 |  | ST2 | 35.4142 | 43.9846 | 49.8729 |  | ST2 | 24.4494 | 44.7493 |  |  |  | ST2 | 32 | 47.755
[10 empty] | 64 | ST4 | 47.8668 | 54.3024 | 54.6358 |  | ST4 | 107.8299 | 88.5048 | 87.9341 | 75.4634 | ST4 | 129.2126 | 107.3625 | 97.558 |  | ST4 | 33.0589 | 42.4102 | 46.2146 |  | ST4 | 22.973 | 44.0715 |  |  |  | ST4 | 32 | 47.755
[10 empty] | 128 | ST7 | 145.639 | 105.0962 | 106.2283 |  | ST7 | 325.4406 | 215.7165 | 155.1054 | 124.598 | ST7 | 763.6359 | 537.0491 | 187.0632 |  | ST7 | 438.4912 | 313.4126 | 128.9967 |  | ST7 | 120.6633 | 88.9219 |  |  |  | ST7 | 37.7851 | 50.238
[12 empty] | RMSE | Ch1 |  |  |  | RMSE | Ch2 |  |  |  | RMSE | Ch3 |  |  |  | RMSE | Ch4 |  |  |  | RMSE | Ch5 |  |  |  |  | RMSE | Ch5
[12 empty] | 1 | 33.6317 |  |  |  | 1 | 85.2311 |  |  |  | 1 | 263.4345 |  |  |  | 1 | 136.0466 |  |  |  | 1 | 56.3244 |  |  |  |  | 1 | 61.7651
[12 empty] | 2 | 30.9329 | linear |  |  | 2 | 44.007 | linear |  |  | 2 | 171.3859 | linear |  |  | 2 | 87.0479 | linear |  |  | 2 | 44.8981 | linear |  |  |  | 2 | 50.8658 | linear
[12 empty] | 3 | 30.3122 | power |  |  | 3 | 27.4766 | power |  |  | 3 | 42.6575 | power |  |  | 3 | 41.376 | power |  |  | 3 |  | power |  |  |  | 3 |  | power
[18 empty] | 24.9913 | individual

## r2
Total Impact Window
| Max Amp (Hil) | Max Amp (Rect) | Mean Amp (Hil) | Mean Amp (Rect) | Med Amp (Hil) | Med Amp (Rect)
Linear | 0.577 | 0.576 | 0.683 | 0.6829 | 0.2034 | 0.2033
Power | 0.553 | 0.552 | 0.6854 | 0.6852 | 0.2058 | 0.2057
Log | 0.5672 | 0.5667 | 0.6564 | 0.6564 | 0.1973 | 0.1973
| Number of Impulses |  |  |  | Mean Amplitude Above Treshold (2V)
| Linear (Hil) | Linear (Rect) | Log (Hil) | Log (Rect) | Linear (Hil) | Linear (Rect) | Power (Hil) | Power (Rect) | Log (Hil) | Log (Rect)
ch1 | 0.027 | 0.033 | 0.0175 | 0.0204 | 0.683 | 0.5788 | 0.6854 | 0.5839 | 0.6564 | 0.607
ch2 | 0.0121 | 0.057 | 0.0307 | 0.1037 | 0.683 | 0.5787 | 0.6854 | 0.584 | 0.6564 | 0.6066
ch3 | 0.4561 | 0.449 | 0.5106 | 0.5124 | 0.6735 | 0.5356 | 0.675 | 0.5379 | 0.6544 | 0.5693
ch4 | 0.5434 | 0.5014 | 0.5848 | 0.5489 | 0.5697 | 0.4478 | 0.5752 | 0.4621 | 0.6125 | 0.5079
ch5 | 0.3698 | 0.5083 | 0.4444 | 0.5314 | 0.6254 | 0.2875 | 0.6292 | 0.3086 | 0.6282 | 0.3405
ch6 | 0.4344 | 0.3034 | 0.435 | 0.2422 | 0.0685 | 0.1012 | 0.0757 | 0.1135 | 0.0895 | 0.1299

## floods
| Raw Max Amplitude |  | Env Max Amplitude |  | Max Size
H1 | Pipe | Hydrophone | Pipe | Hydrophone | Tracers | Bedload
Flood 1 | 0.0708 | 0.631 | 0.1788 | 1.6488 | 90
Flood 2 | 0.0487 | 0.631 | 0.0487 | 2.6674 | 90
Flood 3 | 0.0068 | 0.631 | 0.0076 | 2.239 | 45
Flood 4 | 0.0015 | 0.631 | 0.0015 | 1.9089 | 64
Flood 5 | 0.0496 | 0.631 | 0.0501 | 1.5485 | 90
| Raw Max Amplitude |  | Env Max Amplitude |  | Max Size
H4 | Pipe | Hydrophone | Pipe | Hydrophone | Tracers | Bedload
Flood 6 | 0.0316 | 0.7943 | 0.0444 | 2.4294
Flood 7
Flood 8 | 0.0316 | 0.7943 | 0.0361 | 2.1451
Flood 9 | 0.0008 | 0.1078 | 0.0008 | 0.1079